# Tubes (0.5 or 1.5 ml) – purifying Sequencing reactions (04 June 2025)

See “Science Aid Center” on Core website for additional information as indicated below.

This protocol is based on an ABI 96-well plate protocol; see “Sequencing EtOH-Precipitation (Plate protocol)”.  Better results are easier to obtain with the plate protocol; however, good results are possible with tubes and a regular centrifuge.

1)	Remove tubes from thermocycler; spin tubes to consolidate all fluids at the bottom.  Transfer contents to tubes large enough to fit in your centrifuge rotor.  [Note #1]

2)	For each 10-ul reaction, add 5 μl EDTA (70-150 mM, pH 8); ensure that EDTA droplet enters sample before Step 3. (For 20 μl reactions, use 5 μl @ 150 mM & increase EtOH volumes, including wash, to 60 μl.)

3)	Add 30-33 μl 100% EtOH to each tube; cap tubes and mix by vigorously shaking tubes to shift EtOH from top-to-bottom (repeat 4X).  [Note #2]

5)	Incubate samples @ room temperature (RT; >4 min).

6) 	Orient tubes identically in rotor so that DNA will pellet in the same location in each tube; spin tubes (minimum speed = 2500 RCF, 20oC, 15-30 min) [Notes #3 & #4].  Proceed to Step 7 immediately; otherwise, if >2 min have passed, re-spin tubes for additional 2 min prior to Step 7.

7)	Remove supernatants by either (A) aspirating with a pipette tip (sliding tip down wall opposite pellet) or (B) dumping and blotting tubes on a clean Kimwipe.  Then, spin tubes briefly to collect residual EtOH at bottom of tubes, and use a pipette tip (do NOT try to dump-&-blot) to aspirate remaining EtOH.  [Note #5]

8)	Add 30-33 μl 70% EtOH to each tube; cap tubes and mix as in Step 3.

9)	Spin tubes as in Step 6, but for only 5-10 min [Notes #3 & #4].

10)	Repeat Step 7(A) or 7(B); consider doing a second 70% wash to remove more UDT’s.

11)	Dry tubes (caps open) to remove traces of EtOH (RT, >15 min; 70oC, >1 min; or SpeedVac).

Caution:  Chilling open tubes at this point can cause severe degradation of the C-fluorophore.

12)	Add 15 ul ABI Hi-Di formamide [Note #6] to each tube; cap tubes; briefly vortex & spin.

13)  Refrigerate tubes (>30 min); vortex samples well, and centrifuge to collect contents. [Note #7]

14)  Transfer samples to strip tubes or a plate for sequencing.

Note 1:  If placed in a 96-tube rack, 0.2-ml tubes can be processed faster & more effectively with the ‘Plate Protocol’.

Note 2:  Store EtOH solutions in a low-humidity environment (e.g., fridge or freezer) to prevent absorption of water from the air; your DNA won’t precipitate if the % of EtOH drops too low.

Note 3:  These spin speeds & times were designed for a plate-centrifuge; you can reduce spin times with the higher speeds achievable in traditional bench-top models.

Note 4:  At these speeds, signal strengths from 15 vs. 30 min spins are ~ identical; but, a 15-min spin loses ~10-20 bp of sequence close to the primer (vs. a 30-min spin) – in general, 20-min spins ensure optimal results.  Signal strength drops with shorter spin times (e.g., 10 min).  ABI recommends 4oC spins; RT actually works better.

Note 5: Residual EtOH contains numerous unincorporated dye terminators (UDT’s).  Drying the EtOH does not remove UDT’s; if not removed, UDT’s degrade sequence data (see “Why do massive peaks occur ~50-70 bp into my data?”).

Note 6:  Other formamide brands may have water, contaminants, or improper buffering, leading to poor signal (see “What kind of formamide should I use?”).

Note 7:  Vortexing is critical if transferring samples from clean-up tubes shortly after adding formamide (i.e., <30 min).