Current Instruments

- ABI 3130xl (Sanger-Sequencing):

  - Reactions by client, with electrophoresis & basecalling by facility.

  - ThermoFisher no longer supports ABI 3130xl platform; limited parts availability.

- Ion Torrent S5 (NGS):

  - 540 chip generates up to 200-bp modal reads (~60-80 million);

  - 530 chip generates up to 400-bp modal reads (~20-30 million).

- ViiA-7 & QuantStudio-6 Flex:

  - qPCR and Protein Thermal Shift (PTS) assays;

  - standard 96-well blocks;

  - Facility has PTS analysis software.

- Veriti thermal cycler (standard PCR):

  - 96-well block;

  - explicit temperature gradients available through 6 thermally-distinct regions.

- SmartCheck  (Pipette verification tool):

  - Test pipettes prior to 'volume-critical' experiments;

  - determine if pipette needs re-calibration; and,

  - train personnel.

- Savant SPD1010 SpeedVac:

  - Concentrate DNA extractions;

  - Remove low concentrations of non-aggressive organic solvents;

  - Tubes or 96-well plates.

- Diagenode Bioruptor:

  - Gently sonicate up to 12 DNA samples in parallel;

  - temperature is automatically maintained by a chilled water bath (4C).

- Eppendorf 5810R centrifuge:

  - 4-place rotor with swinging buckets (maximum speed = 2800 rcf);

  - 96-well plates, 50-ml tubes, or 15-ml tubes.

- Typhoon 8600:

  - Phosphor-screen imaging;

  - process scans in ImageQuant or saved *.tif files.

  - Instrument still functions, but parts and service are no longer available.

Current Services

- ABI 3130xl  (Full Service DNA Sequencing) :

  - Client supplies DNA templates and primers.

  - Facility handles all remaining aspects of the workflow needed to generate sequence data.

- Agilent Bioanalyzer:

  - Provide quantitation and assessments of integrity.

  - Facility stocks the DNA High Sensitivity kit and the RNA Pico 6000 kit.

- Qubit 4.0:

  - Facility can process samples for clients; or,

  - clients can use their own reagents and read samples on the facility's Qubit 4.0.

- DNA Size-Selection Platforms:

  - Bluepippin (narrow or broad size-ranges);

  - E-gels (~50-bp ranges); and,

  - Zymo Select-a-Size columns (remove fragments below 50,100, 150, 200 or 300-bp).

- Supplies & Reagents:

  - Facility maintains stocks of commonly used products and can special order items at discounted rates.

  - Free ThermoFisher shipping.

Potential Upgrades

- ABI 3500xl (Replacement):

  - Our three ABI 3130xl platforms (16-capillary arrays) are no longer supported by ThermoFisher and parts are in limited supply.

  - 3500xl has improved thermal control & signal consistency across injections & capillaries (24-capillary arrays).

- ABI QuantStudio-6 Pro (Replacement):

  - Our two existing ABI qPCR platforms are old and becoming expensive to maintain.

  - QS-6 Pro has improved well-to-well & instrument-to-instrument accuracy;

  - 5 coupled excitation/emission filter channels, with sensitivity to 1.5-fold (single-plex).

  - Options for User-changeable blocks: 96-well (std. or fast); 384-well.

- ABI QuantStudio Absolute-Q (New Capability):

  - All dPCR steps (compartmentalization, cycling and data acquisition) integrated into one instrument with 4 optical channels.

  - Hands-on time is <5 min; export results for analysis or compile into easy-to-read report.

- Azure Cielo-6 (Alternative Capability):

  - Fiber-optics deliver/capture light directly from individual wells; thus, no ROX reference dye required, allowing up to 6 targets per well.

  - The Cielo-6 simultaneously images 16 individual wells (requires 6 scans per 96-well plate).

- KingFisher Flex (New Capability):

  - Versatile benchtop automated extraction instrument for consistent medium- to high-throughput extraction & purification of DNA, RNA, proteins & cells.

  - Wide volume range (20 ul to 5 ml); 24 or 96 samples/run with customizable protocols.

- Azure Sapphire Imager (New Capability):

  - Choose among 4 models covering fluorescence (NIR/RGB), chemiluminescence, & radio-isotopes (e.g., phosphor).

  - Ultra-wide dynamic range & resolution down to 10 microns for high-quality image analysis.  [Model Comparison Chart].

- BioTek Synergy H1 (New Capability):

  - Functions with luminescence, fluorescence & absorbance;

  - tunable monochromator for assay flexibility.

  - Temperature control for kinetics; optional CO2/O2 control & dual injector system.

  - Take3 plate to quantify DNA/RNA/protein (16-48 samples, 2-ul). [pdf]

- PacBio Sequel IIe (New Capability):

  - Ultra-long NGS reads (to 25-kb) from single-molecules;

  - dramatically reduces NGS bioinformatic requirements.

  - Sequel IIe reads through low-complexity regions & high GC or AT regions, with extremely low error (e.g., 8 errors in 19,000 bp).